## Sheet1
EXAMPLE 1
Time Period - 01-Aug-19 to 31-Jul-20
|  | Equipment / asset number | Equipment description | Gas Type / Name | Global Warming Potential (GWP) - CO2e | Gas held in equipment (at one time) |  | Gas consumed in process |  | Gas released - part of process |  | Gas released - accidental |  | Total gas released |  | Comments
[6 empty] | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e
| Asset 1 Name - Talbot Chiller 1 | CHILL001 | Daikin Chiller | R410a | 2088 | 14 | 29.232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No loss this year, previous year loss
| Asset 2 Name- Talbot Chiller 2 | CHILL002 | Daikin Chiller | R410a | 2088 | 14 | 29.232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No loss this year, previous year loss
| Asset 3 Name- Engineering East Chiller 1 | CHILL003 | Airedale Chiller | R410a | 2088 | 50 | 104.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 circuits each with 25kg, no losses to date
| Asset 4 Name- Engineering East Chiller 2 | CHILL004 | Airedale Chiller | R410a | 2088 | 50 | 104.4 | 0 | 0 | 0 | 0 | 5 | 10.44 | 5 | 10.44 | 2 circuits each with 25kg, loss occurred on 03-May-20 adverse event reported
| Asset 5 Name- ILS2 A/C Unit 1 | CHILL005 | Fujitsu Air Conditioning Unit | R134a | 1430 | 30 | 42.9 | 0 | 0 | 0 | 0 | 30 | 42.9 | 30 | 42.9 | loss occurred on 16-Sep-19, adverse event reported
EXAMPLE 2
Time Period - 01-Aug-19 to 31-Jul-20
|  | Equipment / asset number | Equipment description | Gas Type / Name | Global Warming Potential (GWP) - CO2e | Gas held in equipment (at one time) |  | Gas consumed in process |  | Gas released - part of process |  | Gas released - accidental |  | Total gas released |  | Comments
[6 empty] | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e
| Asset 1 Name - Engineering TEM | ASSET123 | JEOL TEM 3000 Transmission Electron Microscope | SF6 | 22800 | 10 | 228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No losses on equipment to date. Sealed and when a gas change is required, every 7 years the waste gas is taken away for recycling
EXAMPLE 3
Time Period - 01-Aug-19 to 31-Jul-20
|  | Equipment / asset number | Equipment description | Gas Type / Name | Global Warming Potential (GWP) - CO2e | Gas held in equipment (at one time) |  | Gas consumed in process |  | Gas released - part of process |  | Gas released - accidental |  | Total gas released |  | Comments
[6 empty] | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e | Kg | T CO2e
| Asset 1 Name - SPTS Etch (Etch01) | ASSET-AB-123 | STPS Etch Machine | SF6 | 22800 | 50 | 1140 | 1000 | 1140 | 450 | 513 | 0 | 0 | 450 | 0
| Asset 1 Name - SPTS Etch (Etch01) | ASSET-AB-123 | STPS Etch Machine | C4F8 | 10300 | 75 | 772.5 | 550 | 424.875 | 500 | 212.4375 | 0 | 0 | 500 | 0
| Asset 2 Name-Oxford Plasmalab (PLS01) | ASSET-AB-125 | Oxford Plasmalab50 | CHF3 | 14800 | 8 | 118.4 | 100 | 11.84 | 50 | 0.592 | 5 | 0.00296 | 55 | 0.0001628 | 5 kg loss on 02-Mar-1, adverse event reported